## List1
Seznam náhradních dílů držených poskytovatelem služby
p. č. | Název, specifikace | počet | cena
1 | X20DI9371 | 1
2 | X20DO9322 | 1
3 | X20SI9100 | 1
4 | X20SO4110 | 1
5 | X20SO6300 | 1
6 | X20CP1584 | 1
7 | X20SL8100 | 1
8 | X20BC8083 | 1
9 | X20PS9400 | 1
10 | X20HB2881 | 1
11 | Chassis NH-P | 1
12 | CPU karta HN-P | 1
13 | IFC karta HN-P | 1
14 | SVS karta HN-P | 1
15 | HFP karta NH-P | 1
16 | HFK karta HN-P | 1
17 | HSK karta HN-P | 1
18 | OUT karta HN-P | 1
19 | jednotka MDS10 | 1
20 | návěst TSM20 modrá | 1
21 | návěst TSM20 žlutá | 1
22 | Filtr NFI10 | 1
23 | Měnič 600/24 V DC | 1
Celkem
24 | X20IF2181-2 X20 interface module | 1
25 | X20IF10X0 X20 interface module | 1
26 | X20HB2881 X20 hub expansion module | 1
27 | X20DI9371 X20 digital input module | 1
28 | X20DO9322 X20 digital output module | 1
29 | X20SI9100 X20 safe digital input module | 1
30 | X20SO6300 X20 safe digital output module | 1
31 | X20SO6530 X20 safe digital output module | 1
32 | X20DO9322 X20 digital output module | 1
33 | X20SI4100 X20 safe digital input module | 1
34 | X20HB8815 X20 POWERLINK - TCP/IP gateway | 1
35 | X20PS2100 X20 power supply module | 1
36 | X20PS8002 X20 power supply module | 1
37 | X20PS9400 X20 power supply module | 1
38 | X20SL8100 X20 SafeLOGIC | 1
39 | X20SO2530 X20 safe digital output module | 1
40 | X20TB12 X20 terminal block, 12-pin | 1
41 | X20TB52 X20 terminal block, 12-pin | 1
42 | X20TB72 X20 terminal block, 12-pin | 1
43 | X20HB1881 X20 hub expansion module | 1
44 | X20AI2322 X20 analog input module | 1
45 | X20AT4232 X20 temperature input module | 1
46 | X20BB80 X20 bus base | 1
47 | X20BB81 X20 bus base | 1
48 | X20BC8083 X20 bus controller | 1
49 | X20BM01 X20 power supply bus module | 1
50 | X20BM11 X20 bus module, 24 VDC keyed | 1
51 | X20BM33 X20 bus module | 1
52 | X20CP3586 X20 CPU, ATOM 1.6 GHz | 1
53 | X20CS1030 X20 interface module | 1
54 | EvoxX M B8-SCU-C | 1
55 | B3-REL16 karta 16ti bistabilních relé, 30V/3A, pro modulární ústředny | 1
56 | B8-BAF karta pro připojení externích monitorovacích a ovládacích zařízení | 1
57 | B5 OPPO CZ-EPI dle DIN 14661, vč. skříně | 1
58 | MTD 533X, multisenzorový hlásič | 1
59 | MCP545X-3R tlačítkový hlásič typu A, červený, IP67 | 1
60 | BX-REL4, výstupní reléový modul | 1
61 | GALAXYGD-264 | 1
62 | E080-10 | 1
63 | GXYSMART GSM | 1
64 | G8 | 1
65 | MK7PROX HID | 1
66 | SIQURA BL980 4K Network bullet camera, 4-8mm motorized, H.265/H.264/MJPEG | 1
67 | SIQURA PD910 3 MP high-speed PTZ camera with 40x zoom, IR | 1
68 | SIQURA XCU Compact 316L rugged 2MP HD camera motorized zoom | 1
69 | IRL-VAR2-i4-2, PSU-VAR-50W | 1
70 | Optický switch - SFP moduly SFP transceiver with DDMI, 1.25G, 1310nm, SM, 20km, Dual LC connectors, Temp. 0~70°C, kompatible with opti switch | 1
71 | Optický switch - SFP moduly analyzátor, kamery výtah compatible SFP transceiver with DDMI, 100M/155M, SM, 1310nm, 20km, Dual LC interace | 1
72 | Optický switch - SFP moduly metalické SFP transceiver kompatibilní s dodaný switchem, 1000M, 100m RJ-45 connector, provozní teploty 0~70°C | 1
| Cena služby za 1 rok bez DPH |  | 0